### Caravan Park Inspection Form Template

«Premise_name»

Proprietor: «Proprietor_fname» «Proprietor_sname»

| Date ________________________ |  | A =good standard B =minor non-compliance C =major non compliance |  |
| --- | --- | --- | --- |
| Officer ________________________ |  |  |  |
| 1 | GENERAL/CARAVANS |  |  |
| a | Office hours displayed, contact telephone number available and register kept |  |  |
| b | Public phone available and mail collection area |  |  |
| c | 1 Caravan per site, site numbers visible |  |  |
| d | Caravans maintained in a clean condition & contain a fridge and stove |  |  |
| e | Adequate distances between structures (see over for details)? |  |  |
| f | Electricity supply |  |  |
| g | Facility adequately lit at night |  |  |
| h | Adequate waste water disposal |  |  |
| i | Appropriate number of 80L rubbish bins max 90m from each site |  |  |
| 2 | ABLUTION FACILITIES – Max 90m from all sites |  |  |
| a | General maintenance of walls, floors, ceilings & basins |  |  |
| b | Baby bath available |  |  |
| c | Toilets – toilet paper, sanitary napkin disposal, lockable doors, hook |  |  |
| d | Showers – fixed seat, hook, soap holder, lockable doors |  |  |
| e | Hand basins – plug, hook, mirror, shelf, power point (1 per 4 hand basins) |  |  |
| f | Adequate lighting and ventilation |  |  |
| g | Hot (min 45C) and cold water supply |  |  |
| h | Chemical dump point provided |  |  |
| 3 | LAUNDRY AND KITCHEN FACILITIES (<60 sites require 1 per 20 sites, 61-120 sites require 1 per 30 sites, >120 sites requires 1 per 50 sites) |  |  |
| a | Washing machine |  |  |
| b | 45L Trough and plug with hot (45C) and cold water supply |  |  |
| c | Bench space (0.3m2 min) provided and power point |  |  |
| d | Slop Hopper |  |  |
| e | Dryer or 60m clothes line |  |  |
| f | Campers kitchen – 45L trough, plug, hot (45C) and cold water and 0.5m2 bench space |  |  |
| g | Potable water tap and sullage dump points within 30m of all camp sites, and 10m of all short stay caravan sites |  |  |
| 4 | FIRE SAFETY |  |  |
| a | Caravans are able to be moved in 24h period |  |  |
| b | Fire Extinguishers - within 30m of each site, one for every 6 sites if reels not adequate |  |  |
| c | Fire Hose Reels reach each site (6 monthly services for extinguishers and hose reels) |  |  |
|  | NOTES |  | Due |

«Address_1» «Address_2» «Address_3» «Address_4»

MINIMUM SEPERATION DISTANCES**

Facility Road

1.2m max

Fences

1.0m min

1.0m min

1.0m

min

1.0m min

Caravan, Camp or

Annex*

3.0m min

Caravan, Camp or

Annex*

Carport or open sided building

Caravan, Camp or

Annex*

Storage Shed

6m2 max

2.1m max

2.0m min

Enclosed building

2.0m min

Caravan, Camp or

Annex*

*Annex to be not longer than caravan, max. 3.6m wide, max 300mm higher than caravan park.

** Minimum distances apply if only if building not attached to a caravan.